## Sheet1
THE PAUL N. GARDNER CO., INC. VISCOSITY CUP CONVERSION / CORRELATION SECONDS EFFLUX CHART
V = KT - C/T or T = (V + √ V² + 4KC) / 2K
CONSTANT K = | = | 0.875 | 2.8 | 10.09 | 13.26 | 23.56 | 1.59 | 4.18 | 10.23 | 15.13 | 27.27 | 0.266 | 0.744 | 2.48 | 4.62 | 7.4 | 23.6 |  | 2.31 | 3.7 | 11.8 | 0.886 | 2.74 | 13.8 |  | 9.14 | 0.85 | 2.32 | 5.39 | 18.9 | 0.133 | 0.372 | 1.24 | 2.31 | 3.7 | 11.8 | 0.443 | 1.37 | 6.9 | 21.78 | 4.57 | 0.85 | 2.32 | 5.39 | 18.9 | 1.55 | 4.82 | 20.75 | 139
CONSTANT C = | = | 993 | 747 | 587 | 673 | 744 | 1070 | 760 | 575 | 545 | 540 | 157 | 300 | 385 | 275 | 200 | 204 |  | 550 | 400 | 408 | 100 | 100 | 285 |  | 226 | 175 | 190 | 185 | 210 | 313 | 600 | 770 | 550 | 400 | 408 | 200 | 200 | 570 | 306 | 452 | 175 | 190 | 185 | 210 | 800 | 100 | 500 | 750
MIN Cs RANGE |  | 10 | 19 | 64 | 79 | 161 | 15 | 39 | 63 | 97 | 219 | 2 | 12 | 25 | 29 | 53 | 215 | 29 | 29 | 34 | 77 | 7 | 35 | 142 | 69 | 69 | 11 | 19 | 35 | 167 | 2 | 12 | 25 | 29 | 34 | 77 | 5 | 19 | 84 | 187 | 38 | 11 | 19 | 35 | 167 | 7 | 117 | 498 | 3445
MAX Cs RANGE |  | 36 | 156 | 596 | 784 | 1401 | 78 | 238 | 604 | 899 | 1627 | 14 | 40 | 120 | 273 | 441 | 1413 |  | 273 | 441 | 1413 | 42 | 149 | 684 |  | 545 | 48 | 136 | 320 | 1125 | 14 | 40 | 120 | 273 | 441 | 1413 | 52 | 163 | 823 | 2611 | 545 | 48 | 136 | 320 | 1125 | 165 | 582 | 2297 | 15408
TOLERANCE |  | 3% | 3% | 3% | 3% | 3% | 5% | 5% | 5% | 5% | 5% | 4% | 4% | 4% | 4% | 4% | 4% |  | 3% | 2% | 3% | 3% | 3% | 3% |  | 3% | 2% | 2% | 2% | 2% | 2% | 2% | 2% | 2% | 2% | 2% | 2% | 2% | 2% | 3% | 3% | 2% | 2% | 2% | 2% | 3% | 3% | 3% | 5%
STANDARD OIL |  | G10 | G60 | G200 | G200 | G350 | G20 | G60 | G100 | G350 | G350 | G6 | G10 | G35 | G60 | G60 | G200 |  | G60 | G60 | G200 | G10 | G35 | G100 |  | G100 | G20 | G35 | G60 | G200 | G6 | G10 | G35 | G60 | G60 | G200 | G10 | G35 | G100 | G350 | G100 | G20 | G35 | G60 | G200 | G35-P | G100-P | G350-P | GJ3000-P
ITEM NUMBER |  | VI-EZ1 | VI-EZ2 | VI-EZ3 | VI-EZ4 | VI-EZ5 | VI-2101 | VI-2102 | VI-2103 | VI-2104 | VI-2105 | VI-3320 | VI-3321 | VI-3322 | VI-3323 | VI-3324 | VI-3325 |  | VI-3403 | VI-3404 | VI-3405 | VI-6023 | VI-6024 | VI-6026 |  | VI-7024 | VI-5001 | VI-5002 | VI-5003 | VI-5004 | VI-3300 | VI-3301 | VI-3302 | VI-3303 | VI-3304 | VI-3305 | VI-6003 | VI-6004 | VI-6006 | VI-6008 | VI-7004 | VI-5021 | VI-5022 | VI-5023 | VI-5024 | VI-9002 | VI-9004 | VI-9006 | VI-9008
[19 empty] | GARDCO/STD |  |  | GARDCO/MINI |  |  |  | MINI | [14 empty] | GARDCO
|  |  | GARDCO EZ CUP |  |  |  | GARDCO ZAHN SIG. CUP |  |  |  |  | VI-3321: GARDCO MINI FORD DIP CUP |  | FORD DIP CUP |  |  | ISO DIP CUP |  |  |  | DIN DIP | GARDCO/FISHER DIP CUP |  |  |  |  | GARDCO STANDARD FORD CUP |  |  |  |  | GARDCO/ISO CUP |  |  |  | STD DIN | GARDCO/FISHER CUP |  |  |  | GARDCO/PARLIN CUP
CENTISTOKES |  | 1 | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5 | 0 | 1 | 2 | 3 | 4 | 5 |  | 3 | 4 | 5 | 3mm | 4mm | 6mm |  | 4mm | 1 | 2 | 3 | 4 | 0 | 1 | 2 | 3 | 4 | 5 | 3 mm | 4mm | 6mm | 8mm | 4mm | 1 | 2 | 3 | 4 | 1 | 2 | 3 | 4
7.5 | [11 empty] | 0: 42.1864 |  |  |  |  | 15.6685 | [8 empty] | 84.3058 | [5 empty] | 31.3369 | [8 empty] | 25.2663
7.9 | [11 empty] | 0: 43.3231 |  |  |  |  | 15.9796 | [8 empty] | 86.5801 | [5 empty] | 31.9593 | [8 empty] | 25.4093
8.3 | [11 empty] | 0: 44.4742 |  |  |  |  | 16.2946 | [8 empty] | 88.8833 | [5 empty] | 32.5892 | [8 empty] | 25.5531
8.7 | [11 empty] | 0: 45.6392 |  |  |  |  | 16.6132 | [8 empty] | 91.2142 | [5 empty] | 33.2264 | [8 empty] | 25.6976
9.1 | [11 empty] | 0: 46.8175 |  |  |  |  | 16.9354 | [8 empty] | 93.5717 | [5 empty] | 33.8708 | [8 empty] | 25.8428
9.6 | [11 empty] | 0: 48.3082 |  |  |  |  | 17.3431 | [8 empty] | 96.5542 | [5 empty] | 34.6862 | [8 empty] | 26.0253
10 |  | 39.8831 | [9 empty] | 0: 49.5143 |  |  |  |  | 17.6731 | [8 empty] | 98.9674 | [5 empty] | 35.3461 | [8 empty] | 26.1722
10.5 |  | 40.2178 | [9 empty] | 0: 51.0381 |  |  |  |  | 18.0901 |  |  |  |  | 21.798 |  |  |  | 102.0161 | [5 empty] | 36.1803 |  |  |  |  | 21.798 |  |  |  | 26.3567
11.1 |  | 40.6224 | [9 empty] | 0: 52.889 |  |  |  |  | 18.5972 |  |  |  |  | 22.2938 |  |  |  | 105.7193 | [5 empty] | 37.1945 |  |  |  |  | 22.2938 |  |  |  | 26.5796
11.6 |  | 40.9622 | [9 empty] | 0: 54.449; GARDCO MINI FORD DIP CUP 1: 29.3363 |  |  |  |  | 19.0251 |  |  |  |  | 22.712 |  |  |  | 108.8404 | 58.6727 |  |  |  |  | 38.0502 |  |  |  |  | 22.712 |  |  |  | 26.7665
12.2 |  | 41.3729 | [9 empty] | 0: 56.3407; GARDCO MINI FORD DIP CUP 1: 29.8887 |  |  |  |  | 19.5446 |  |  |  |  | 23.2197 |  |  |  | 112.6251 | 59.7775 |  |  |  |  | 39.0892 |  |  |  |  | 23.2197 |  |  |  | 26.9923
12.8 |  | 41.7868 | [9 empty] | 0: 58.2525; GARDCO MINI FORD DIP CUP 1: 30.4476 |  |  |  |  | 20.0705 |  |  |  |  | 23.7336 |  |  |  | 116.45 | 60.8952 |  |  |  |  | 40.141 |  |  |  |  | 23.7336 |  |  |  | 27.2197
13.5 |  | 42.2739 | [9 empty] | 0: 60.5066; GARDCO MINI FORD DIP CUP 1: 31.1075 |  |  |  |  | 20.6917 |  |  |  |  | 24.3407 |  |  |  | 120.9597 | 62.215 |  |  |  |  | 41.3834 |  |  |  |  | 24.3407 |  |  |  | 27.4869
14.1 |  | 42.6949 | [9 empty] | GARDCO MINI FORD DIP CUP 1: 31.6798 |  |  |  |  | 21.2305 |  |  |  |  | 24.8674 |  |  |  |  | 63.3596 |  |  |  |  | 42.461 |  |  |  |  | 24.8674 |  |  |  | 27.7177
14.8 |  | 43.1901 |  |  |  |  | 31.0097 |  |  |  |  | GARDCO MINI FORD DIP CUP 1: 32.355 |  |  |  |  | 21.866 |  |  |  |  | 25.4891 |  |  |  |  | 64.71 |  |  |  |  | 43.7321 |  |  |  |  | 25.4891 |  |  |  | 27.9889
15.6 |  | 43.7614 |  |  |  |  | 31.3068 |  |  |  |  | GARDCO MINI FORD DIP CUP 1: 33.1364 |  |  |  |  | 22.6011 |  |  |  |  | 26.2085 |  |  |  |  | 66.2728 |  |  |  |  | 45.2022 |  |  |  |  | 26.2085 |  |  |  | 28.3014
16.4 |  | 44.3383 |  |  |  |  | 31.6063 |  |  |  |  | GARDCO MINI FORD DIP CUP 1: 33.9278 |  |  |  |  | 23.3449 |  |  |  |  | 26.9372 |  |  |  |  | 67.8556 |  |  |  |  | 46.6898 |  |  |  |  | 26.9372 |  |  |  | 28.6166
17.2 |  | 44.9207 |  |  |  |  | 31.9081 |  |  |  |  | GARDCO MINI FORD DIP CUP 1: 34.7289 |  |  |  |  | 24.097 |  |  |  |  | 27.6747 |  |  |  |  | 69.4579 |  |  |  |  | 48.1939 |  |  |  |  | 27.6747 |  |  |  | 28.9346
18 |  | 45.5086 |  |  |  |  | 32.2121 |  |  |  |  | GARDCO MINI FORD DIP CUP 1: 35.5394 |  |  |  |  | 24.8567 |  |  |  |  | 28.4206 |  |  |  |  | 71.0788 |  |  |  |  | 49.7134 |  |  |  |  | 28.4206 |  |  |  | 29.2552
18.9 |  | 46.1765 |  |  |  |  | 32.5569 |  |  |  |  | GARDCO MINI FORD DIP CUP 1: 36.462 |  |  |  |  | 25.7201 |  |  |  |  | 29.2694 |  |  |  |  | 72.924 |  |  |  |  | 51.4402 |  |  |  |  | 29.2694 |  |  |  | 29.6191
19.9 |  | 46.9265 | 20.2692 |  |  |  | 32.9434 |  |  |  |  | GARDCO MINI FORD DIP CUP 1: 37.5 |  |  |  |  | 26.6894 |  |  |  |  | 30.2237 | 14.3033 |  |  |  | 75 |  |  |  |  | 53.3788 | 21.3601 |  |  |  | 30.2237 | 14.3033 |  |  | 30.0273
20.9 |  | 47.6848 | 20.4867 |  |  |  | 33.3333 |  |  |  |  | GARDCO MINI FORD DIP CUP 1: 38.551 |  |  |  |  | 27.6684 |  |  |  |  | 31.1893 | 14.613 |  |  |  | 77.1019 |  |  |  |  | 55.3369 | 21.9165 |  |  |  | 31.1893 | 14.613 |  |  | 30.4397
21.9 |  | 48.4512 | 20.7059 |  |  |  | 33.7268 |  |  |  |  | GARDCO MINI FORD DIP CUP 1: 39.6143 |  |  |  |  | 28.6565 |  |  |  |  | 32.1654 | 14.9264 |  |  |  | 79.2286 |  |  |  |  | 57.3129 | 22.4795 |  |  |  | 32.1654 | 14.9264 |  |  | 30.856
23 |  | 49.3035 | 20.9492 |  |  |  | 34.1635 |  |  |  |  | GARDCO MINI FORD DIP CUP 1: 40.7976 |  |  |  |  | 29.7528 |  |  |  |  | 33.2507 | 15.2752 |  |  |  | 81.5951 |  |  |  |  | 59.5057 | 23.1063 |  |  |  | 33.2507 | 15.2752 |  |  | 31.3186
24.2 |  | 50.244 | 21.217 |  |  |  | 34.6447 |  |  |  |  | GARDCO MINI FORD DIP CUP 1: 42.1038; GARDCO MINI FORD DIP CUP 2: 18.2599 |  |  |  |  | 30.9594 |  |  |  |  | 34.4473 | 15.6605 |  |  |  | 84.2076 | 36.5197 |  |  |  | 61.9188 | 23.7985 |  |  |  | 34.4473 | 15.6605 |  |  | 31.8287
25.4 |  | 51.1956 | 21.4874 |  |  |  | 35.1307 |  |  |  |  | GARDCO MINI FORD DIP CUP 1: 43.4253; GARDCO MINI FORD DIP CUP 2: 18.5919 |  |  |  |  | 32.176 |  |  |  |  | 35.6564 | 16.0507 |  |  |  | 86.8506 | 37.1838 |  |  |  | 64.3519 | 24.499 |  |  |  | 35.6564 | 16.0507 |  |  | 32.3444
26.7 |  | 52.2387 | 21.7831 |  |  |  | 35.6626 |  |  |  |  | GARDCO MINI FORD DIP CUP 1: 44.873; GARDCO MINI FORD DIP CUP 2: 18.9558 |  |  |  |  | 33.5042 |  |  |  |  | 36.9793 | 16.4785 |  |  |  | 89.7461 | 37.9116 |  |  |  | 67.0084 | 25.2668 |  |  |  | 36.9793 | 16.4785 |  |  | 32.9092
28 |  | 53.2942 | 22.0817 |  |  |  | 36.2 |  |  |  |  | GARDCO MINI FORD DIP CUP 1: 46.3365; GARDCO MINI FORD DIP CUP 2: 19.324; GARDCO MINI FORD DIP CUP 3: 11.3192 |  | 22.6385 |  |  | 34.8421 |  |  |  |  | 38.3146 | 16.9116 |  |  |  | 92.673 | 38.6479 | 22.6385 |  |  | 69.6842 | 26.0434 |  |  |  | 38.3146 | 16.9116 |  |  | 33.4804
29.4 |  | 54.4444 | 22.4066 |  |  |  | 36.7849 |  |  |  |  | GARDCO MINI FORD DIP CUP 1: 47.9291; GARDCO MINI FORD DIP CUP 2: 19.7251; GARDCO MINI FORD DIP CUP 3: 11.5273 |  | 23.0547 |  |  | 36.2927 |  |  |  |  | 39.7656 | 17.3836 |  |  |  | 95.8582 | 39.4502 | 23.0547 |  |  | 72.5855 | 26.889 |  |  |  | 39.7656 | 17.3836 |  |  | 34.1024
30.9 |  | 55.6918 | 22.7583 |  |  |  | 37.4185 |  |  |  |  | GARDCO MINI FORD DIP CUP 1: 49.6531; GARDCO MINI FORD DIP CUP 2: 20.1601; GARDCO MINI FORD DIP CUP 3: 11.7529 |  | 23.5058 |  |  | 37.8572 |  |  |  |  | 41.3339 | 17.8954 |  |  |  | 99.3062 | 40.3202 | 23.5058 |  |  | 75.7145 | 27.8051 |  |  |  | 41.3339 | 17.8954 |  |  | 34.7767
32.4 |  | 56.9543 | 23.1137 |  |  |  | 38.0592 |  |  |  |  | GARDCO MINI FORD DIP CUP 1: 51.3941; GARDCO MINI FORD DIP CUP 2: 20.6004; GARDCO MINI FORD DIP CUP 3: 11.9811 |  | 23.9622 |  |  | 39.4312 |  |  |  |  | 42.9151 | 18.4132 |  |  |  | 102.7883 | 41.2008 | 23.9622 |  |  | 78.8624 | 28.7308 |  |  |  | 42.9151 | 18.4132 |  |  | 35.4589
34 |  | 58.3172 | 23.4969 |  |  |  | 38.7502 |  |  |  |  | GARDCO MINI FORD DIP CUP 1: 53.2686; GARDCO MINI FORD DIP CUP 2: 21.0756; GARDCO MINI FORD DIP CUP 3: 12.2274 |  | 24.4548 |  |  | 41.1196 |  |  |  |  | 44.6147 | 18.9719 |  |  |  | 106.5372 | 42.1512 | 24.4548 | 15.962 |  | 82.2391 | 29.7282 |  |  |  | 44.6147 | 18.9719 |  |  | 36.1951
35.7 |  | 59.783 | 23.9086 |  |  |  | 39.4928 |  |  |  |  | GARDCO MINI FORD DIP CUP 1: 55.2783; GARDCO MINI FORD DIP CUP 2: 21.5867; GARDCO MINI FORD DIP CUP 3: 12.4922 |  | 24.9843 |  |  | 42.923 | 15.3992 |  |  |  | 46.4339 | 19.5723 | 10.0415 |  |  | 110.5567 | 43.1734 | 24.9843 | 16.2865 |  | 85.8459 | 30.7984 |  |  |  | 46.4339 | 19.5723 | 10.0415 |  | 36.9867
37.5 |  | 61.354 | 24.3494 |  |  |  | 40.2884 | 18.6962 |  |  |  | GARDCO MINI FORD DIP CUP 1: 57.425; GARDCO MINI FORD DIP CUP 2: 22.1345; GARDCO MINI FORD DIP CUP 3: 12.7759 |  | 25.5519 |  |  | 44.842 | 15.9713 |  |  |  | 48.3737 | 20.2151 | 10.2922 |  |  | 114.85 | 44.2691 | 25.5519 | 16.6343 |  | 89.6841 | 31.9425 |  |  | 14.8611 | 48.3737 | 20.2151 | 10.2922 |  | 37.8351
39.4 |  |  | 24.8202 |  |  |  | 41.1383 | 18.9968 |  |  |  | GARDCO MINI FORD DIP CUP 1: 59.7101; GARDCO MINI FORD DIP CUP 2: 22.7199; GARDCO MINI FORD DIP CUP 3: 13.0792 |  | 26.1584 |  |  | 46.8772 | 16.5807 |  |  |  | 50.4351 | 20.9011 | 10.5601 |  |  | 119.4201 | 45.4399 | 26.1584 | 17.0058 |  | 93.7545 | 33.1614 |  |  | 15.1499 | 50.4351 | 20.9011 | 10.5601 |  | 38.7417
41.4 |  |  | 25.3216 |  |  |  | 42.0438 | 19.3168 |  |  |  | GARDCO MINI FORD DIP CUP 1: 62.1347; GARDCO MINI FORD DIP CUP 2: 23.3438; GARDCO MINI FORD DIP CUP 3: 13.4023 |  | 26.8047 |  |  | 49.0289 | 17.2279 |  |  |  | 52.6186 | 21.6309 | 10.8456 |  |  | 124.2694 | 46.6876 | 26.8047 | 17.4017 |  | 98.0578 | 34.4559 |  |  | 15.4576 | 52.6186 | 21.6309 | 10.8456 |  | 39.7078
43.4 |  |  | 25.8289 |  |  |  | 42.9602 | 19.6402 |  |  |  | GARDCO MINI FORD DIP CUP 2: 23.9751; GARDCO MINI FORD DIP CUP 3: 13.7294 |  | 27.4589 |  |  |  | 17.8805 |  |  |  | 54.8148 | 22.3682 | 11.1345 |  |  |  | 47.9503 | 27.4589 | 17.8024 |  | 102.3782 | 35.7611 |  |  | 15.7689 | 54.8148 | 22.3682 | 11.1345 |  | 40.6857
45.6 |  |  | 26.3937 |  |  |  | 43.9805 | 20 |  |  |  | GARDCO MINI FORD DIP CUP 2: 24.6778; GARDCO MINI FORD DIP CUP 3: 14.0936 |  | 28.1872 |  |  |  | 18.6041 |  |  |  | 57.2437 | 23.1872 | 11.4561 |  |  |  | 49.3557 | 28.1872 | 18.2485 |  | 107.148 | 37.2082 |  |  | 16.1155 | 57.2437 | 23.1872 | 11.4561 |  | 41.7745
47.9 |  |  | 26.9913 |  |  |  | 45.0603 | 20.3805 |  |  |  | GARDCO MINI FORD DIP CUP 2: 25.4213; GARDCO MINI FORD DIP CUP 3: 14.479 |  | 28.958 |  |  |  | 19.3663 |  |  |  | 59.796 | 24.0516 | 11.7964 |  |  |  | 50.8426 | 28.958 | 18.7207 |  | 112.1519 | 38.7326 |  |  | 16.4822 | 59.796 | 24.0516 | 11.7964 |  | 42.9267
50.3 |  |  | 27.6225 |  |  |  | 46.201 | 20.7822 |  |  |  | GARDCO MINI FORD DIP CUP 2: 26.2061; GARDCO MINI FORD DIP CUP 3: 14.8861 |  | 29.7721 |  |  |  | 20.1673 |  |  |  | 62.4721 | 24.9619 | 12.1557 |  |  |  | 52.4123 | 29.7721 | 19.2195 |  | 117.3899 | 40.3347 |  |  | 16.8695 | 62.4721 | 24.9619 | 12.1557 |  | 44.1436
52.8 |  |  | 28.2881 |  |  |  | 47.4038 | 21.2056 |  |  |  | GARDCO MINI FORD DIP CUP 2: 27.033; GARDCO MINI FORD DIP CUP 3: 15.3152 |  | 30.6303 |  |  |  | 21.0074 |  |  |  |  | 25.9184 | 12.5342 |  |  |  | 54.066 | 30.6303 | 19.7454 |  | 122.8619 | 42.0148 |  |  | 17.278 |  | 25.9184 | 12.5342 |  | 45.4264
55.4 |  |  | 28.9888 |  |  |  | 48.6698 | 21.6512 |  |  |  | GARDCO MINI FORD DIP CUP 2: 27.9024; GARDCO MINI FORD DIP CUP 3: 15.7666; GARDCO MINI FORD DIP CUP 4: 10.1494 |  | 31.5333 | 20.2988 |  |  | 21.8865 |  |  |  |  | 26.9214 | 12.9323 |  |  |  | 55.8049 | 31.5333 | 20.2988 |  |  | 43.773 |  |  | 17.7079 |  | 26.9214 | 12.9323 |  | 46.776
58.2 |  |  | 29.7525 |  |  |  | 50.0496 | 22.1368 |  |  |  | GARDCO MINI FORD DIP CUP 2: 28.8489; GARDCO MINI FORD DIP CUP 3: 16.2585; GARDCO MINI FORD DIP CUP 4: 10.4509 |  | 32.517 | 20.9019 |  |  | 22.8389 |  |  |  |  | 28.01 | 13.3657 |  |  |  | 57.6979 | 32.517 | 20.9019 |  |  | 45.6777 |  |  | 18.1766 |  | 28.01 | 13.3657 |  | 48.2462
61.1 |  |  | 30.5533 |  |  |  | 51.4958 | 22.646 |  |  |  | GARDCO MINI FORD DIP CUP 2: 29.8396; GARDCO MINI FORD DIP CUP 3: 16.7737; GARDCO MINI FORD DIP CUP 4: 10.7669 |  | 33.5475 | 21.5339 |  |  | 23.8308 |  |  |  |  | 29.1461 | 13.8195 |  |  |  | 59.6793 | 33.5475 | 21.5339 |  |  | 47.6615 |  |  | 18.668 |  | 29.1461 | 13.8195 |  | 49.7863
64.2 |  |  | 31.4196 | 11.4456 |  |  | 53.0602 | 23.1969 | 11.2651 |  |  | GARDCO MINI FORD DIP CUP 2: 30.9096; GARDCO MINI FORD DIP CUP 3: 17.3307; GARDCO MINI FORD DIP CUP 4: 11.1086 |  | 34.6614 | 22.2173 |  |  | 24.8966 |  |  |  |  | 30.3691 | 14.3095 |  |  |  | 61.8191 | 34.6614 | 22.2173 |  |  | 49.7932 |  |  | 19.1996 |  | 30.3691 | 14.3095 |  | 51.4509
67.4 |  |  | 32.3247 | 11.6665 |  |  | 54.694 | 23.7726 | 11.4832 |  |  | GARDCO MINI FORD DIP CUP 2: 32.025; GARDCO MINI FORD DIP CUP 3: 17.9119; GARDCO MINI FORD DIP CUP 4: 11.4654 |  | 35.8238 | 22.9308 |  |  | 26.0021 |  |  |  |  | 31.6401 | 14.8205 |  |  |  | 64.0499 | 35.8238 | 22.9308 |  |  | 52.0043 |  |  | 19.755 |  | 31.6401 | 14.8205 |  | 53.1878
70.8 |  |  | 33.2978 | 11.904 |  |  | 56.4497 | 24.3919 | 11.7176 |  |  | GARDCO MINI FORD DIP CUP 2: 33.2213; GARDCO MINI FORD DIP CUP 3: 18.5359; GARDCO MINI FORD DIP CUP 4: 11.8486 |  | 37.0719 | 23.6972 |  |  | 27.1821 |  |  | 10.176 |  | 32.999 | 15.3687 |  |  |  | 66.4427 | 37.0719 | 23.6972 |  |  | 54.3642 |  |  | 20.3521 |  | 32.999 | 15.3687 |  | 55.0526
74.3 |  |  | 34.3112 | 12.1514 |  |  | 58.2771 | 25.0371 | 11.9618 |  |  | GARDCO MINI FORD DIP CUP 2: 34.4641; GARDCO MINI FORD DIP CUP 3: 19.1849; GARDCO MINI FORD DIP CUP 4: 12.2473 |  | 38.3698 | 24.4946 |  |  | 28.4018 |  |  | 10.4869 |  | 34.4062 | 15.9383 |  |  |  | 68.9283 | 38.3698 | 24.4946 |  |  | 56.8036 |  |  | 20.9739 |  | 34.4062 | 15.9383 |  | 56.9917
78 |  |  | 35.3946 | 12.416 |  |  | 60.2298 | 25.7274 | 12.2231 |  |  | GARDCO MINI FORD DIP CUP 2: 35.7893; GARDCO MINI FORD DIP CUP 3: 19.8776; GARDCO MINI FORD DIP CUP 4: 12.6732 |  | 39.7553 | 25.3463 |  |  | 29.6961 |  |  | 10.8193 |  | 35.9018 | 16.5457 |  |  |  | 71.5786 | 39.7553 | 25.3463 |  |  | 59.3923 |  |  | 21.6386 |  | 35.9018 | 16.5457 |  | 59.0614
81.9 |  |  | 36.5493 | 12.6984 | 10.853 |  |  | 26.4638 | 12.5018 |  |  | GARDCO MINI FORD DIP CUP 2: 37.1976; GARDCO MINI FORD DIP CUP 3: 20.6147; GARDCO MINI FORD DIP CUP 4: 13.1265 |  | 41.2294 | 26.2531 | 10.2982 |  | 31.0653 |  |  | 11.1736 |  | 37.4864 | 17.1913 |  |  |  | 74.3953 | 41.2294 | 26.2531 | 10.2982 |  | 62.1307 |  |  | 22.3471 |  | 37.4864 | 17.1913 |  | 61.2635
86 |  |  | 37.7765 | 12.9988 | 11.0704 |  |  | 27.2471 | 12.7984 |  |  | GARDCO MINI FORD DIP CUP 2: 38.6899; GARDCO MINI FORD DIP CUP 3: 21.3966; GARDCO MINI FORD DIP CUP 4: 13.6078 |  | 42.7933 | 27.2155 | 10.5618 |  | 32.5095 |  |  | 11.55 |  | 39.1603 | 17.8756 |  |  |  | 77.3798 | 42.7933 | 27.2155 | 10.5618 |  | 65.019 | 17.2521 |  | 23.1 |  | 39.1603 | 17.8756 |  | 63.5992
90.3 |  |  | 39.0772 | 13.3178 | 11.3011 |  |  | 28.0783 | 13.1133 |  |  | GARDCO MINI FORD DIP CUP 2: 40.2666; GARDCO MINI FORD DIP CUP 3: 22.2238; GARDCO MINI FORD DIP CUP 4: 14.1172 |  | 44.4477 | 28.2344 | 10.8417 |  | 34.0287 |  |  | 11.949 |  | 40.9236 | 18.5987 |  |  |  | 80.5333 | 44.4477 | 28.2344 | 10.8417 |  | 68.0574 | 17.7428 |  | 23.898 |  | 40.9236 | 18.5987 |  | 66.0699
94.8 |  |  | 40.4522 | 13.6557 | 11.5454 |  |  | 28.9581 | 13.4468 |  |  | GARDCO MINI FORD DIP CUP 2: 41.9284; GARDCO MINI FORD DIP CUP 3: 23.0966; GARDCO MINI FORD DIP CUP 4: 14.655 |  | 46.1933 | 29.3101 | 11.1382 |  | 35.6231 |  |  | 12.3708 |  | 42.7766 | 19.3609 |  |  |  | 83.8567 | 46.1933 | 29.3101 | 11.1382 |  | 71.2461 | 18.2625 |  | 24.7415 |  | 42.7766 | 19.3609 |  | 68.6766
99.5 |  |  | 41.9025 | 14.0129 | 11.8036 |  |  | 29.8873 | 13.7994 | 10.1316 |  | GARDCO MINI FORD DIP CUP 2: 43.6754; GARDCO MINI FORD DIP CUP 3: 24.0154; GARDCO MINI FORD DIP CUP 4: 15.2215 |  | 48.0307 | 30.4431 | 11.4516 |  | 37.2925 |  |  | 12.8156 |  | 44.7193 | 20.1624 |  |  |  | 87.3508 | 48.0307 | 30.4431 | 11.4516 |  | 74.585 | 18.8116 |  | 25.6312 |  | 44.7193 | 20.1624 |  | 71.4202
104.5 |  |  | 43.4601 | 14.3975 | 12.0817 |  |  | 30.8866 | 14.1791 | 10.3778 |  | GARDCO MINI FORD DIP CUP 2: 45.5456; GARDCO MINI FORD DIP CUP 3: 25; GARDCO MINI FORD DIP CUP 4: 15.8291 |  | 50 | 31.6581 | 11.7889 |  | 39.0727 |  |  | 13.2933 |  | 46.7933 | 21.0206 |  |  |  | 91.0912 | 50 | 31.6581 | 11.7889 |  | 78.1455 | 19.4025 |  | 26.5867 |  | 46.7933 | 21.0206 |  | 74.3603
109.8 |  |  | 45.1263 | 14.8102 | 12.3802 |  |  | 31.9573 | 14.5865 | 10.6419 |  | GARDCO MINI FORD DIP CUP 2: 47.5397; GARDCO MINI FORD DIP CUP 3: 26.0511; GARDCO MINI FORD DIP CUP 4: 16.478 |  | 52.1022 | 32.956 | 12.1507 |  | 40.9639 |  |  | 13.8043 |  | 48.999 | 21.9358 |  |  |  | 95.0794 | 52.1022 | 32.956 | 12.1507 |  | 81.9279 | 20.036 |  | 27.6087 |  | 48.999 | 21.9358 |  | 77.4986
115.2 |  |  | 46.8387 | 15.2357 | 12.688 |  |  | 33.0595 | 15.0065 | 10.9144 |  | GARDCO MINI FORD DIP CUP 2: 49.5826; GARDCO MINI FORD DIP CUP 3: 27.1292; GARDCO MINI FORD DIP CUP 4: 17.144 |  | 54.2583 | 34.2881 | 12.5236 |  | 42.8946 |  |  | 14.3295 |  | 51.2531 | 22.8735 |  |  |  | 99.1652 | 54.2583 | 34.2881 | 12.5236 |  | 85.7893 | 20.6886 |  | 28.659 |  | 51.2531 | 22.8735 |  | 80.7169 | 24.739
121 |  |  | 48.6932 | 15.698 | 13.0226 |  |  | 34.2551 | 15.4629 | 11.2105 |  | GARDCO MINI FORD DIP CUP 2: 51.788; GARDCO MINI FORD DIP CUP 3: 28.2942; GARDCO MINI FORD DIP CUP 4: 17.8643 |  | 56.5884 | 35.7285 | 12.9286 |  | 44.9721 |  |  | 14.8982 |  | 53.6808 | 23.8859 |  |  |  | 103.5759 | 56.5884 | 35.7285 | 12.9286 |  | 89.9442 | 21.397 |  | 29.7964 |  | 53.6808 | 23.8859 |  | 84.1947 | 25.9046
127.1 |  |  | 50.6591 | 16.19 | 13.3788 |  |  | 35.5248 | 15.9485 | 11.5258 |  | GARDCO MINI FORD DIP CUP 3: 29.5268; GARDCO MINI FORD DIP CUP 4: 18.6267 |  | 59.0535 | 37.2533 | 13.3594 |  | 47.1607 |  |  | 15.5011 |  | 56.2407 | 24.956 |  |  |  |  | 59.0535 | 37.2533 | 13.3594 |  | 94.3215 | 22.1498 |  | 31.0021 |  | 56.2407 | 24.956 |  | 87.8735 | 27.1339
133.4 |  |  | 52.7047 | 16.7038 | 13.7512 |  |  | 36.8481 | 16.4557 | 11.8553 |  | GARDCO MINI FORD DIP CUP 3: 30.8066; GARDCO MINI FORD DIP CUP 4: 19.4188 |  | 61.6133 | 38.8376 | 13.809 |  | 49.4246 |  |  | 16.1283 |  | 58.8907 | 26.0663 |  |  |  |  | 61.6133 | 38.8376 | 13.809 |  | 98.8491 | 22.9352 |  | 32.2566 |  | 58.8907 | 26.0663 |  | 91.6934 | 28.4067
140.1 |  |  | 54.8956 | 17.2563 | 14.152 |  |  | 38.2679 | 17.0011 | 12.2099 |  | GARDCO MINI FORD DIP CUP 3: 32.1747; GARDCO MINI FORD DIP CUP 4: 20.266 |  | 64.3494 | 40.5321 | 14.2921 |  | 51.8355 |  |  | 16.8 |  | 61.7149 | 27.252 |  |  |  |  | 64.3494 | 40.5321 | 14.2921 |  | 103.6709 | 23.7784 |  | 33.6001 |  | 61.7149 | 27.252 |  | 95.776 | 29.7634
147.1 |  |  | 57.1998 | 17.8398 | 14.5756 |  |  | 39.7638 | 17.577 | 12.5847 |  | GARDCO MINI FORD DIP CUP 3: 33.6108; GARDCO MINI FORD DIP CUP 4: 21.1559 |  | 67.2216 | 42.3118 | 14.802 |  | 54.3575 | 12.3339 |  | 17.5065 |  |  | 28.4958 |  |  |  |  | 67.2216 | 42.3118 | 14.802 |  | 108.7151 | 24.6677 |  | 35.013 |  |  | 28.4958 |  | 100.0614 | 31.184
154.4 |  |  | 59.6178 | 18.4547 | 15.0226 |  |  | 41.3363 | 18.1839 | 12.98 |  | GARDCO MINI FORD DIP CUP 3: 35.115; GARDCO MINI FORD DIP CUP 4: 22.0884 |  | 70.23 | 44.1769 | 15.3389 |  |  | 12.8016 |  | 18.2478 |  |  | 29.7975 |  |  |  |  | 70.23 | 44.1769 | 15.3389 |  | 113.9815 | 25.6033 |  | 36.4956 |  |  | 29.7975 |  | 104.5496 | 32.6683
162.2 |  |  | 62.2166 | 19.1183 | 15.5056 | 10.0323 |  | 43.0293 | 18.8389 | 13.4071 |  | GARDCO MINI FORD DIP CUP 3: 36.7289; GARDCO MINI FORD DIP CUP 4: 23.0895 |  | 73.4577 | 46.1789 | 15.9179 |  |  | 13.3057 |  | 19.0445 |  |  | 31.1931 |  |  |  |  | 73.4577 | 46.1789 | 15.9179 |  | 119.6146 | 26.6115 |  | 38.089 |  |  | 31.1931 |  | 109.3645 | 34.2571
170.3 |  |  |  | 19.8142 | 16.0127 | 10.2956 |  | 44.8001 | 19.5257 | 13.8555 |  | GARDCO MINI FORD DIP CUP 3: 38.4111; GARDCO MINI FORD DIP CUP 4: 24.1334 |  | 76.8222 | 48.2668 | 16.5246 |  |  | 13.8335 |  | 19.8764 |  |  | 32.6469 | 10.1096 |  |  |  | 76.8222 | 48.2668 | 16.5246 |  | 125.4701 | 27.667 |  | 39.7528 |  |  | 32.6469 | 10.1096 |  | 35.9097
178.8 |  |  |  | 20.5513 | 16.5507 | 10.5753 |  | 46.6709 | 20.2532 | 14.3311 |  | GARDCO MINI FORD DIP CUP 3: 40.1826; GARDCO MINI FORD DIP CUP 4: 25.2332 |  | 80.3653 | 50.4665 | 17.1667 |  |  | 14.3915 |  | 20.7538 |  |  | 34.1768 | 10.5168 |  |  |  | 80.3653 | 50.4665 | 17.1667 |  |  | 28.7831 |  | 41.5076 |  |  | 34.1768 | 10.5168 |  | 37.6465
187.7 |  |  |  | 21.33 | 17.12 | 10.8716 |  | 48.6422 | 21.0218 | 14.8341 |  | GARDCO MINI FORD DIP CUP 3: 42.0435; GARDCO MINI FORD DIP CUP 4: 26.389 |  | 84.0869 | 52.7781 | 17.8444 |  |  | 14.9801 |  | 21.6768 |  |  | 35.7829 | 10.9463 |  |  |  | 84.0869 | 52.7781 | 17.8444 |  |  | 29.9602 | 10.0201 | 43.3536 |  |  | 35.7829 | 10.9463 |  | 39.4676
197.1 |  |  |  | 22.1595 | 17.7273 | 11.1884 |  | 50.7367 | 21.8404 | 15.3706 |  | GARDCO MINI FORD DIP CUP 3: 44.0147; GARDCO MINI FORD DIP CUP 4: 27.6139 |  | 88.0294 | 55.2278 | 18.5658 |  |  | 15.606 |  | 22.6559 |  |  | 37.4834 | 11.403 |  |  |  | 88.0294 | 55.2278 | 18.5658 |  |  | 31.2119 | 10.4005 | 45.3119 |  |  | 37.4834 | 11.403 |  | 41.3933
207 |  |  |  | 23.0403 | 18.3733 | 11.5259 |  | 52.955 | 22.7096 | 15.9411 |  | GARDCO MINI FORD DIP CUP 3: 46.0965; GARDCO MINI FORD DIP CUP 4: 28.9079 |  | 92.193 | 57.8158 | 19.331 |  |  | 16.2694 |  | 23.6914 |  |  | 39.2783 | 11.8871 |  |  |  | 92.193 | 57.8158 | 19.331 |  |  | 32.5388 | 10.8045 | 47.3828 |  |  | 39.2783 | 11.8871 |  | 43.4238
217.3 |  |  |  | 23.9638 | 19.0517 | 11.8812 |  | 55.275 | 23.621 | 16.54 |  | GARDCO MINI FORD DIP CUP 3: 48.2678; GARDCO MINI FORD DIP CUP 4: 30.2581; GARDCO MINI FORD DIP CUP 5: 10.0663 |  | 96.5357 | 60.5162 | 20.1327 |  |  | 16.9638 |  | 24.7727 |  |  | 41.1495 | 12.3939 |  |  |  | 96.5357 | 60.5162 | 20.1327 |  |  | 33.9276 | 11.2283 | 49.5455 |  |  | 41.1495 | 12.3939 |  | 45.5386
228.2 |  |  |  | 24.9483 | 19.7761 | 12.2614 |  | 57.7421 | 24.5925 | 17.1794 | 10.2922 | GARDCO MINI FORD DIP CUP 3: 50.571; GARDCO MINI FORD DIP CUP 4: 31.6907; GARDCO MINI FORD DIP CUP 5: 10.4933 |  | 101.1419 | 63.3814 | 20.9865 |  |  | 17.7028 |  | 25.9211 |  |  | 43.1334 | 12.9332 |  |  |  | 101.1419 | 63.3814 | 20.9865 |  |  | 35.4057 | 11.6803 | 51.8422 |  |  | 43.1334 | 12.9332 |  | 47.7786
239.6 |  |  |  | 25.9851 | 20.5403 | 12.6635 |  | 60.3341 | 25.6156 | 17.8537 | 10.6462 | GARDCO MINI FORD DIP CUP 3: 52.9849; GARDCO MINI FORD DIP CUP 4: 33.1926; GARDCO MINI FORD DIP CUP 5: 10.9425 |  | 105.9698 | 66.3853 | 21.885 |  |  | 18.4799 |  | 27.126 |  |  | 45.2118 | 13.5003 |  |  |  | 105.9698 | 66.3853 | 21.885 |  |  | 36.9597 | 12.1566 | 54.252 |  |  | 45.2118 | 13.5003 |  | 50.1235
251.6 |  |  |  | 27.0836 | 21.3514 | 13.0913 |  |  | 26.6995 | 18.5691 | 11.0227 | GARDCO MINI FORD DIP CUP 3: 55.5308; GARDCO MINI FORD DIP CUP 4: 34.7771; GARDCO MINI FORD DIP CUP 5: 11.4181 |  | 111.0616 | 69.5543 | 22.8361 |  |  | 19.3018 |  | 28.3981 |  |  | 47.4031 | 14.1002 |  |  |  | 111.0616 | 69.5543 | 22.8361 |  |  | 38.6037 | 12.6615 | 56.7961 |  |  | 47.4031 | 14.1002 |  | 52.5936
264.1 |  |  |  | 28.2349 | 22.203 | 13.5417 |  |  | 27.8355 | 19.3198 | 11.4188 | GARDCO MINI FORD DIP CUP 3: 58.1875; GARDCO MINI FORD DIP CUP 4: 36.4311; GARDCO MINI FORD DIP CUP 5: 11.9161 |  | 116.3749 | 72.8621 | 23.8322 |  |  | 20.162 |  | 29.7268 |  |  | 49.6889 | 14.728 |  |  |  | 116.3749 | 72.8621 | 23.8322 |  |  | 40.324 | 13.1909 | 59.4535 |  |  | 49.6889 | 14.728 |  | 55.1686
277.3 |  |  |  | 29.4576 | 23.1088 | 14.022 |  |  | 29.0419 | 20.1183 | 11.841 | GARDCO MINI FORD DIP CUP 3: 60.9975; GARDCO MINI FORD DIP CUP 4: 38.1808; GARDCO MINI FORD DIP CUP 5: 12.4446 |  | 121.995 | 76.3617 | 24.8892 |  |  | 21.0742 |  | 31.1334 |  |  | 52.1058 | 15.3938 |  |  |  | 121.995 | 76.3617 | 24.8892 |  |  | 42.1484 | 13.7534 | 62.2668 |  |  | 52.1058 | 15.3938 |  | 57.8895
291.2 |  |  |  | 30.752 | 24.0694 | 14.5329 |  |  | 30.3192 | 20.9647 | 12.2897 | GARDCO MINI FORD DIP CUP 4: 40.0266; GARDCO MINI FORD DIP CUP 5: 13.0037 |  |  | 80.0532 | 26.0074 |  |  | 22.0385 |  | 32.618 |  |  | 54.654 | 16.0976 |  |  |  |  | 80.0532 | 26.0074 |  |  | 44.0771 | 14.3492 | 65.236 |  |  | 54.654 | 16.0976 |  | 60.7564
305.8 |  |  |  | 32.1185 | 25.0851 | 15.0745 |  |  | 31.6674 | 21.8594 | 12.7651 | GARDCO MINI FORD DIP CUP 4: 41.9683; GARDCO MINI FORD DIP CUP 5: 13.5935 |  |  | 83.9366 | 27.187 |  |  | 23.0552 |  | 34.1807 |  |  | 57.3333 | 16.8397 |  |  |  |  | 83.9366 | 27.187 |  |  | 46.1104 | 14.9784 | 68.3615 |  |  | 57.3333 | 16.8397 |  | 63.7693
321.1 |  |  |  | 33.5572 | 26.1561 | 15.6472 |  |  | 33.0869 | 22.8024 | 13.2674 | GARDCO MINI FORD DIP CUP 4: 44.0061; GARDCO MINI FORD DIP CUP 5: 14.2141 |  |  | 88.0121 | 28.4281 |  |  | 24.1242 |  | 35.8216 |  |  | 60.144 | 17.62 |  |  |  |  | 88.0121 | 28.4281 |  |  | 48.2484 | 15.6411 | 71.6431 |  |  | 60.144 | 17.62 |  | 66.9282
337.1 |  |  |  | 35.0683 | 27.2826 | 16.2513 |  |  | 34.5776 | 23.7941 | 13.7968 | GARDCO MINI FORD DIP CUP 4: 46.1398; GARDCO MINI FORD DIP CUP 5: 14.8654 |  |  | 92.2796 | 29.7308 |  |  | 25.2456 |  | 37.5405 |  |  |  | 18.4386 |  |  |  |  | 92.2796 | 29.7308 |  |  | 50.4912 | 16.3375 | 75.081 |  |  |  | 18.4386 |  | 70.2332
354 |  |  |  | 36.6707 | 28.479 | 16.8946 |  |  | 36.1586 | 24.8469 | 14.3602 | GARDCO MINI FORD DIP CUP 4: 48.3963; GARDCO MINI FORD DIP CUP 5: 15.5557 |  |  | 96.7926 | 31.1114 |  |  | 26.4335 |  | 39.3591 |  |  |  | 19.3057 |  |  |  |  | 96.7926 | 31.1114 |  |  | 52.8669 | 17.0762 | 78.7182 |  |  |  | 19.3057 |  | 73.7254
371.7 |  |  |  | 38.3552 | 29.7384 | 17.5737 |  |  | 37.8205 | 25.9549 | 14.9545 | GARDCO MINI FORD DIP CUP 4: 50.7622; GARDCO MINI FORD DIP CUP 5: 16.2809 |  |  | 101.5243 | 32.5619 |  |  | 27.6809 |  | 41.2666 |  |  |  | 20.2163 |  |  |  |  | 101.5243 | 32.5619 |  |  | 55.3617 | 17.8531 | 82.5332 |  |  |  | 20.2163 |  | 77.3843
390.2 |  |  |  | 40.1219 | 31.0609 | 18.2887 |  |  | 39.5634 | 27.1181 | 15.5798 | GARDCO MINI FORD DIP CUP 4: 53.2374; GARDCO MINI FORD DIP CUP 5: 17.0411 |  |  | 106.4748 | 34.0823 |  |  | 28.9878 |  | 43.263 |  |  |  | 21.1703 |  |  |  |  | 106.4748 | 34.0823 |  |  | 57.9756 | 18.6681 | 86.526 |  |  |  | 21.1703 |  | 81.2098
409.7 |  |  |  | 41.99 | 32.461 | 19.0475 |  |  | 41.4063 | 28.3493 | 16.2429 | GARDCO MINI FORD DIP CUP 4: 55.8488; GARDCO MINI FORD DIP CUP 5: 17.8446 |  |  | 111.6976 | 35.6892 |  |  | 30.3685 |  | 45.3699 |  |  |  | 22.1782 |  |  |  |  | 111.6976 | 35.6892 |  |  | 60.7369 | 19.5302 | 90.7399 |  |  |  | 22.1782 |  | 85.2434
430.2 |  |  |  | 43.9597 | 33.9389 | 19.8506 |  |  | 43.3494 | 29.6485 | 16.9442 | GARDCO MINI FORD DIP CUP 4: 58.5964; GARDCO MINI FORD DIP CUP 5: 18.6913 |  |  | 117.2 | 37.3826 |  |  | 31.8229 |  | 47.5874 |  |  |  | 23.24 |  |  |  |  | 117.1928 | 37.3826 |  |  | 63.6458 | 20.4394 | 95.1749 |  |  |  | 23.24 |  | 89.485
451.7 |  |  |  | 46.031 | 35.4948 | 20.698 |  |  | 45.3927 | 31.016 | 17.6838 | GARDCO MINI FORD DIP CUP 4: 61.4801; GARDCO MINI FORD DIP CUP 5: 19.5813 |  |  | 122.9603 | 39.1626 |  |  | 33.3511 |  | 49.9155 |  |  |  | 24.3557 | [5 empty] | 39.1626 |  |  | 66.7022 | 21.3959 | 99.831 |  |  |  | 24.3557 |  | 93.9346
474.3 |  |  |  | 48.2136 | 37.1359 | 21.594 |  |  | 47.5458 | 32.4581 | 18.4651 | GARDCO MINI FORD DIP CUP 5: 20.5187 |  |  |  | 41.0375 |  |  | 34.9603 |  | 52.365 |  |  |  | 25.5304 | [5 empty] | 41.0375 |  |  | 69.9206 | 22.404 | 104.7299 |  |  |  | 25.5304 |  | 98.6129
498.1 |  |  |  | 50.5173 | 38.8698 | 22.5426 |  |  | 49.8184 | 33.9814 | 19.2919 | GARDCO MINI FORD DIP CUP 5: 21.5078 |  |  |  | 43.0157 |  |  | 36.6576 |  | 54.9467 |  |  |  | 26.7696 | [5 empty] | 43.0157 |  |  | 73.3152 | 23.4683 | 109.8935 |  |  |  | 26.7696 |  | 103.5406 | 24.9698
523 |  |  |  | 52.9326 | 40.6893 | 23.5401 |  |  | 52.2009 | 35.5795 | 20.1608 | GARDCO MINI FORD DIP CUP 5: 22.5444 |  |  |  | 45.0889 |  |  | 38.4359 |  | 57.6499 |  |  |  | 28.0678 | [5 empty] | 45.0889 |  |  | 76.8717 | 24.5843 | 115.2998 |  |  |  | 28.0678 |  | 108.6971 | 26.1271
549.1 |  |  |  | 55.469 | 42.6016 | 24.5906 |  |  | 54.703 | 37.2589 | 21.0753 | GARDCO MINI FORD DIP CUP 5: 23.6327 |  |  |  | 47.2654 |  |  | 40.3023 |  | 60.4854 |  |  |  | 29.4304 | [5 empty] | 47.2654 |  |  | 80.6046 | 25.7567 | 120.9708 |  |  |  | 29.4304 |  | 114.103 | 27.3439
576.6 |  |  |  | 58.1462 | 44.6216 | 25.7023 |  |  | 57.3438 | 39.0326 | 22.0425 | GARDCO MINI FORD DIP CUP 5: 24.781 |  |  |  | 49.562 |  |  | 42.2712 | [5 empty] | 30.8679 | [5 empty] | 49.562 |  |  | 84.5423 | 26.9943 |  |  |  |  | 30.8679 |  | 119.7997 | 28.6296
605.4 |  |  |  | 60.9544 | 46.7419 | 26.8713 |  |  | 60.1139 | 40.8941 | 23.059 | GARDCO MINI FORD DIP CUP 5: 25.9852 |  |  |  | 51.9704 |  |  | 44.3354 | [5 empty] | 32.3749 | [5 empty] | 51.9704 |  |  | 88.6708 | 28.2927 |  |  |  |  | 32.3749 |  | 125.7666 | 29.9797
635.7 |  |  |  |  | 48.9775 | 28.1057 |  |  |  | 42.8564 | 24.1319 | GARDCO MINI FORD DIP CUP 5: 27.2536 |  |  |  | 54.5072 |  |  | 46.5093 | [5 empty] | 33.9621 | [5 empty] | 54.5072 |  |  | 93.0185 | 29.661 |  |  |  |  | 33.9621 |  |  | 31.4035
667.4 |  |  |  |  | 51.3208 | 29.4017 |  |  |  | 44.9131 | 25.2578 | GARDCO MINI FORD DIP CUP 5: 28.5821 |  |  |  | 57.1642 |  |  | 48.7856 | [5 empty] | 35.6241 | [5 empty] | 57.1642 |  |  | 97.5713 | 31.0946 |  |  |  |  | 35.6241 |  |  | 32.8963
700.8 |  |  |  |  | 53.7942 | 30.7716 |  |  |  | 47.0836 | 26.4473 | GARDCO MINI FORD DIP CUP 5: 29.9832 |  |  |  | 59.9664 | [8 empty] | 37.3766 | [5 empty] | 59.9664 |  |  | 102.3722 | 32.6072 |  |  |  |  | 37.3766 |  |  | 34.4725
735.8 |  |  |  |  | 56.3902 | 32.2113 |  |  |  | 49.3616 | 27.697 | GARDCO MINI FORD DIP CUP 5: 31.4528 |  |  |  | 62.9056 | [8 empty] | 39.2146 | [5 empty] | 62.9056 |  |  | 107.4068 | 34.1942 |  |  |  |  | 39.2146 |  |  | 36.1272
772.6 |  |  |  |  | 59.1239 | 33.7291 |  |  |  | 51.76 | 29.014 | GARDCO MINI FORD DIP CUP 5: 32.9992 |  |  |  | 65.9985 | [8 empty] | 41.1483 | [5 empty] | 65.9985 |  |  | 112.704 | 35.8647 |  |  |  |  | 41.1483 |  |  | 37.87
811.3 |  |  |  |  | 62.0026 | 35.3293 |  |  |  | 54.2855 | 30.402 | GARDCO MINI FORD DIP CUP 5: 34.6268 |  |  |  | 69.2535 | [8 empty] | 43.1832 | [5 empty] | 69.2535 |  |  | 118.2781 | 37.6232 |  |  |  |  | 43.1832 |  |  | 39.7057
851.8 | [5 empty] | 37.0078 |  |  |  | 56.9315 | 31.8574 | GARDCO MINI FORD DIP CUP 5: 36.3311 |  |  |  | 72.6623 | [8 empty] | 45.314 | [5 empty] | 72.6623 |  |  | 124.1149 | 39.4653 |  |  |  |  | 45.314 |  |  | 41.6294
894.4 | [5 empty] | 38.777 |  |  |  | 59.7175 | 33.391 | GARDCO MINI FORD DIP CUP 5: 38.125 |  |  |  | 76.2501 | [8 empty] | 47.5564 | [5 empty] | 76.2501 |  |  |  | 41.4045 |  |  |  |  | 47.5564 |  |  | 43.6556
939.1 | [5 empty] | 40.637 |  |  |  | 62.6438 | 35.0028 | GARDCO MINI FORD DIP CUP 5: 40.0084 |  |  |  | 80.0169 | [8 empty] | 49.9105 | [5 empty] | 80.0169 |  |  |  | 43.441 |  |  |  |  | 49.9105 |  |  | 45.7841
986.1 | [5 empty] | 42.5962 |  |  |  |  | 36.7002 | GARDCO MINI FORD DIP CUP 5: 41.9898 |  |  |  | 83.9795 | [8 empty] | 52.3867 | [5 empty] | 83.9795 |  |  |  | 45.5837 |  |  |  |  | 52.3867 |  |  | 48.0246
1035.4 | [5 empty] | 44.6546 |  |  |  |  | 38.483 | GARDCO MINI FORD DIP CUP 5: 44.069 |  |  |  | 88.1381 | [8 empty] | 54.9851 | [5 empty] | 88.1381 |  |  |  | 47.8327 |  |  |  |  | 54.9851 |  |  | 50.3771
1087.2 | [5 empty] | 46.8205 |  |  |  |  | 40.3586 | GARDCO MINI FORD DIP CUP 5: 46.2547 |  |  |  | 92.5094 | [8 empty] | 57.7163 | [5 empty] | 92.5094 |  |  |  | 50.1972 |  |  |  |  | 57.7163 |  |  | 52.8511
1141.5 | [5 empty] | 49.094 |  |  |  |  | 42.327 | GARDCO MINI FORD DIP CUP 5: 48.5467 |  |  |  | 97.0934 | [8 empty] | 60.5802 | [5 empty] | 97.0934 |  |  |  | 52.6772 |  |  |  |  | 60.5802 |  |  | 55.4466
1198.6 | [5 empty] | 51.4877 |  |  |  |  | 44.3991 | GARDCO MINI FORD DIP CUP 5: 50.9578 |  |  |  | 101.9155 | [14 empty] | 101.9155 |  |  |  | 55.2863 | [7 empty] | 58.178
1258.5 | [5 empty] | 54.0016 |  |  |  |  | 46.5748 | GARDCO MINI FORD DIP CUP 5: 53.4879 |  |  |  | 106.9758 | [14 empty] | 106.9758 |  |  |  | 58.0245 | [7 empty] | 61.0453
1321.5 | [5 empty] | 56.6483 |  |  |  |  | 48.8651 | GARDCO MINI FORD DIP CUP 5: 56.1497 |  |  |  | 112.2994 | [14 empty] | 112.2994 |  |  |  | 60.9056 | [7 empty] | 64.0629
1387.5 | [5 empty] | 59.4236 |  |  |  |  | 51.2663 | GARDCO MINI FORD DIP CUP 5: 58.939 |  |  |  | 117.8781 | [14 empty] | 117.8781 |  |  |  | 63.925 | [7 empty] | 67.2259
|  | 1 | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5 | 0 | 1 | 2 | 3 | 4 | 5 |  | 3 | 4 |  | 3mm | 4mm | 6mm |  | 4mm | 1 | 2 | 3 | 4 | 0 | 1 | 2 | 3 | 4 | 5 | 3 mm | 4mm | 6mm | 8mm | 4mm | 1 | 2 | 3 | 4 | 1 | 2 | 3 | 4
CENTISTOKES |  |  | GARDCO EZ CUP |  |  |  | GARDCO ZAHN SIG. CUP |  |  |  |  | 1: GARDCO MINI FORD DIP CUP |  | GARDCO/STD |  |  | GARDCO/MINI |  |  |  | MINI | GARDCO/FISHER DIP CUP |  |  |  |  | GARDCO STANDARD FORD CUP |  |  |  |  | GARDCO/ISO CUP |  |  |  | GARDCO | GARDCO/FISHER CUP |  |  |  | GARDCO/PARLIN CUP
[6 empty] | Consult |  |  |  |  | Consult | 58.939 5: Consult |  | FORD DIP CUP |  | Consult | ISO DIP CUP |  |  |  | DIN DIP | [9 empty] | Consult |  |  |  | Consult | STD | [6 empty] | Consult | Consult
[6 empty] | Formula |  |  |  |  | Formula | 58.939 5: Formula |  |  |  | Formula | [14 empty] | Formula |  |  |  | Formula | DIN DIP | [6 empty] | Formula | Formula
SECONDS BEYOND RANGE | [5 empty] | 60 |  |  |  |  | 60 | 58.939 5: 60 |  |  |  | 120 | [14 empty] | 120 |  |  |  | 120 | [7 empty] | 110 | 110
CENTISTONES | [5 empty] | 1401.2 |  |  |  |  | 1627.2 | 58.939 5: 1412.6 |  |  |  | 1412.6 | [14 empty] | 1412.6 |  |  |  | 2611.05 | [7 empty] | 2277.9545 | 15283.1818
Absolute viscosity in Centipoises = (Kinematic viscosity in Centistokes) (Density)
Protected by Copyright 2001 The Paul N. Gardner Co., Inc.
|  | THIS CHART APPLIES ONLY TO CUPS PRODUCED BY THE PAUL N. GARDNER CO., INC. | [38 empty] | This is an unofficial digital rendition of the Gardco Wall Chart
|  | USE CONVERSIONS ONLY WITH GARDCO VISCOSITY CUPS HAVING CERTIFIED CONSTANTS "K" AND "C" AS DEPICTED ABOVE. | [38 empty] | and is only to be used as an ajunct to the published wall chart
|  | NOTE, SOME CUPS EXCEED THE RANGE OF 7.5 TO 1387.5 CENTISTOKES REPRESENTED IN THIS CHART IN WHICH CASE CONSULT THE FORMULA | [38 empty] | which contains complete information.
BY ENTERING THE TIME RESULTS IN THE RED AREA BELOW "Consult Formula".
Revision 11, October 20, 2010 [Final]

## Sheet2
Note on P28: goof